## Slide 1: Indenter
1
Indenter radius: 1um
Cone Angle: 90°
Indenter
Grain

## Slide 2: Loading function - Example
2
Total time: 407 s
Total penetration depth: 400 nm
Loading time: 400 s
Loading rate: 1nm/s
Holding time: 2 s
Unloading time: 5 s
Loading
Holding
Unloading

## Slide 3: Position
3
Blue
Green
Yellow
Red
Light Blue

## Slide 4: Blue grain
4
Before test
After test
1
2
3
10um
10um

## Slide 5: Blue grain
5
1
2
3
4

## Slide 6: Red grain
6
Before test
After test
1
2
3
4
10um
10um

## Slide 7: Red grain
7
1
2
3
4

## Slide 8: Green grain
8
Before test
After test
1
2
3
4
5um
5um

## Slide 9: Green grain
9
1
2
3
4
The indentation tests 2,3,4 in green grain are deviate from the desired position,
The result of Indenter 1 should be reliable.

## Slide 10: Yellow grain
10
Before test
After test
1
2
3
4
5um
5um
5um
5um
1
2

## Slide 11: Yellow grain
11
1
2
3
4
5um
5um
5um
5um
1
2

## Slide 12: Light Blue grain
12
Before test
After test
1
2
5um
5um

## Slide 13: Light Blue grain
13
1
2
3
4
5um
5um
5um
5um
1
2